## Slide 1
gutter
road
Storm pipe
manhole
Catch basin
Leader pipe
Flow on street
Flow in pipe

## Slide 2
gutter
road
Storm pipe
manhole
2. Inlet
Model all the street catch basins connected to this node as a single inlet.
1. Rim of node is the top of the street cross section

## Slide 3
road
Storm pipe
manhole

## Slide 4
2. Adding rating curve to model inlet capacity
3. Connecting the street to the top node
1. Splitting the node at the street invert into top and bottom nodes
3. Connect the underground pipe to the bottom node